Foundations™ from Health Level

HL7 Interface Specification

Prepared for

VHA

National Teleradiology Program

Overview

VHA NTP requires a two-way data integration between the STAT Case Manager (Built on Foundations™ by Health Level) and IntelePACS (product provided by InteleRad).

For the two-way integration, Foundations™ shall send STAT as they are added to the work list and status changes to IntelePACS via HL7 messages and IntelePACS shall send similar messages to Foundations™.

Workflow and Resulting Data flow – From Foundations™ to IntelePACS

| User Action | Trigger Event | Note |
| --- | --- | --- |
| VA MC Tech Submits a case | Case Submission | Status in ORC-5.1 = OR |
| NTP FC marks a case ready | Case Ready | Status in ORC-5.1 = RY |
| NTP FC marks a case rejected | Case Rejected | Status in ORC-5.1 = CX |

Sample Message

MSH|^~\&|Foundations|VHANTP|IntelePACS||20140208133759||ORM^O01|MID2014020813:37:58384|P|2.5

PID||||||||||||||||||

ORC|||516012714-995||RY|

OBR|||516012714-995|||2014-01-27 17:30:47.447|2014-01-27 17:34:25.34||||||CT HEAD WO||||72739866614925||

Relevant or Notable Segment/Fields

| Segment | Field | Length | Opt | Definition |
| --- | --- | --- | --- | --- |
| PID | Because the VA MC Techs do not enter patient information, the PID is segment will be present but empty for this interface/ application purpose. |  |  |  |
| ORC | 3.1 | 25 | R | Accession Number – this will always be present. In case the 2.4 sites, the format will be ZZZ-mmddyy-nnnn. In case of 2.3 sites, the format will be ZZZmmddyy-nnnn. |
| ORC | 5.1 | 5 | R | Order Status – range of value = {OR, RY, CX} |
| OBR | 3.1 | 25 | R | Same as ORC 3.1, Accession number |
| OBR | 6.1 | 25 | R | Timestamp the case was originally submitted |
| OBR | 7.1 | 25 | R | Timestamp the case status was changed |
| OBR | 13.1 | 180 | O | Study info as entered by submitting Tech |
| OBR | 16.1 | 25 | O | Ordering Provider Name |
| OBR | 17.1 | 25 | O | Callback Phone Number with extension |
| OBR | 18.1 | 25 | O | Callback Pager if available |

Messaging from IntelePACS to Foundations

Foundations Listeners will be configured for the PACS HL7 formats. The Accept and Reject Message drive the status change that has to be reflected on the NTP Customer facing work lists.